Inputs general:
'PAR_1 = Gain DAC 1
'PAR_2 = Gain DAC 2
'PAR_3 = Gain DAC 3
'PAR_4 = Gain DAC 4

'PAR_5 = Address AIN F4/18
'PAR_6 = Address AOUT 4/16

'PAR_7 = Address DIO-32

'PAR_8 = voltage sweep output channel

'PAR_9 = fixed voltage output channel

'PAR_10 = ADC resolution

'PAR_20 = Number of ADC pairs

Measurement parameters:
'FPAR_1 = actual AI1 value in bin
'FPAR_2 = actual AI2 value in bin
'FPAR_3 = actual AI3 value in bin
'FPAR_4 = actual AI4 value in bin

Inputs fixed_AO_read_AI 11-18
'PAR_11 = initial voltage point
'PAR_12 = set voltage point
'PAR_13 = final voltage point
'PAR_14 = total run time
'PAR_15 = no of points to average over
'PAR_16 = no of loops to wait before measure
'PAR_17 = loops to wait to limit AO rate

'PAR_18 = loops to wait after autoranging switch

'PAR_19 = actual V counter

Voltage sweep 21-30

'PAR_21 = no of points to average over
'PAR_22 = no of loops to wait before measure
'PAR_23 = length of voltage array

'PAR_24 = actual voltage bin (output)

'PAR_25 = actual voltage counter

'PAR_26 = loops to wait after autoranging switch

'PAR_27 = IV convert 1 autoranging 0 no, 1 lin, 2 log

'PAR_28 = IV convert 2 autoranging 0 no, 1 lin, 2 log

'PAR_29 = IV convert 3 autoranging 0 no, 1 lin, 2 log

'PAR_30 = IV convert 4 autoranging 0 no, 1 lin, 2 log

'PAR_44 = IV convert 5 autoranging 0 no, 1 lin, 2 log

'PAR_45 = IV convert 6 autoranging 0 no, 1 lin, 2 log

'PAR_46 = IV convert 7 autoranging 0 no, 1 lin, 2 log

'PAR_47 = IV convert 8 autoranging 0 no, 1 lin, 2 log

Histogram 30-50

'PAR_30 = case indicator			
'PAR_31 = array length breaking		
'PAR_32 = array length making			
'PAR_33 = wait cycles piezo breaking 1

'PAR_34 = wait cycles piezo breaking 2	
'PAR_35 = wait cycles piezo making		
'PAR_36 = post breaking points to record

Fixed voltage 40-44

'PAR_40 = current voltage
'PAR_41 = initial voltage point 
'PAR_42 = set voltage point

Control switches 43-45

'PAR_44 = clock bit

'PAR_45 = latch bit

'PAR_46 = data bit

'PAR_47 = disable bit

'PAR_48 = clock bit value

'PAR_49 = latch bit value

'PAR_50 = data bit value

'PAR_51 = disable bit value

Current limited IV 60-61

'FPAR_60 = maximum current (A)

'PAR_61 = maximum voltage

ARRAYS

'DATA_1 = AO1 voltage values array (maximum length 1048576, so 4 arrays can be handled in parallel) INPUT
'DATA_2 = averaged AI1 bin array (maximum length 1048576, so 4 arrays can be handled in parallel) OUTPUT
'DATA_3 = averaged AI2 bin array (maximum length 1048576, so 4 arrays can be handled in parallel) OUTPUT

'DATA_4 = averaged AI3 bin array (maximum length 1048576, so 4 arrays can be handled in parallel) OUTPUT
'DATA_5 = averaged AI4 bin array (maximum length 1048576, so 4 arrays can be handled in parallel) OUTPUT

'DATA_6 = read ADC values

'DATA_7 = time array fixed AO, read AI1

'DATA_8 = time array fixed AO, read AI2

'DATA_9 = time array fixed AO, read AI3

'DATA_10 = time array fixed AO, read AI4

Channels:

AO1: Bias voltage output

AI1-3: Current measurement inputs

DigIn 1-3: gain IV 1

DigIn 4-6: gain IV 2

DigIn 7-9: gain IV 3

DigOut 17: piezo trigger up

DigOut 18: piezo trigger down